Emergency response measures and pollution prevention plan-
Investor’s application of installation or operation change for estimation of total amounts of pollutants in Central Taiwan Science Park

For Erlin Science Park

Company Name：
Checking List

No.	Item	Contents
1	Investor’s Objective	□Installation □Operation change
2	Investor’s Basic Information	Refer to Table A as attached
3	Sources of Pollutants	Refer to Table B as attached
4	Raw Materials and Products	□No □Yes (Refer to Table C as attached)
5	Fact Sheets of Pollutants	□Wastewater and sewage (□No □Yes) / □Air pollutants (□No □Yes) / □Greenhouse gas (□No □Yes) / □General industrial waste (□No □Yes) / □Hazardous industrial waste (□No □Yes)
6	Brief Description of Pollution Prevention Action	□Wastewater pollution prevention measures (□No □Yes) / □Air pollution prevention measures (□No □Yes) / □Waste clearance and prevention measures (□No □Yes) / □Noise control and prevention measures(□No □Yes)
7	Erlin Science Park Cleaner Production Evaluation Table	□No □Yes
8	Brief Description of Emergency Response Measures	□No □Yes

Investor’s Basic Information (Table A)
1.Company Name
2.Legal Owner				3.Registered Capital		NT dollars
4.Contact Personnel				Phone	( )		Ext.
				Fax	( )
5.Deputy				Phone	( )		Ext.
				Fax	( )
6.Running Year (A.D.)			First Year / ( )		Second Year / ( )			Third Year / ( )
7.Number of Employees
8. / Leasing Area / (m2)	Self-built
	Leasing	Self- / built
		Standard
9.Contact Address
10.Factory Address

Sources of Pollutants(Table B)
Flow chart indicating the sources of pollutants (including producing processes).

Raw Materials and Products (Table C)
Product name：
NO.	Category	Name	Major content	Usage amount per month			Unit	Property	Process number
				1st. Yr.	2nd. Yr.	3rd. Yr.
1	Raw material
2
3
4
5	Product

Fact Sheets of Pollutants
Category：█Wastewater and sewage
Parameter	Sources explanation	Amount of emissions			Unit	Storage or treatment	Source / (Note)
		1st. Yr.	2nd. Yr.	3rd. Yr.
Amount of wastewater	Wastewater				CMD
	sewage				CMD
pH					―
Turbidity					NTU
Total organic carbon					mg/L
NH3(l)					mg/L
Residual chlorine					mg/L
E. coliform group / (Membrane Filter Method)					CFU/100mL

Note：Product name or four-digit number can be filled. The four-digit number will be combined from produce line (the first two numbers) and process line (the latter two numbers).
Fact Sheets of Pollutants
Category: █Air pollutants
Compounds or element	Sources explanation	Amount of emissions			Unit / (Ton/Y)	Storage or treatment	Source (Note)
		1st. Yr.	2nd. Yr.	3rd. Yr.
TSP
PM10
PM2.5
SOx
NOx
VOC

Note：Product name or four-digit number can be filled. The four-digit number will be combined from produce line (the first two numbers) and process line (the latter two numbers).
Fact Sheets of Pollutants
Category： █Greenhouse gas
Compounds or element	Composition	Amount of emissions			Unit / (Ton/Y)	Storage or treatment	Source / (Note)
		1st. Yr.	2nd. Yr.	3rd. Yr.
Direct emission

Indirect emission

Total

Note：Product name or four-digit number can be filled. The four-digit number will be combined from produce line (the first two numbers) and process line (the latter two numbers).
Fact Sheets of Pollutants
Category：█General industrial waste
Item	Composition	Amount of emissions			Unit / (Ton/D)	Storage or treatment	Source (Note)
		1st. Yr.	2nd. Yr.	3rd. Yr.

Total

Note：Product name or four-digit number can be filled. The four-digit number will be combined from produce line (the first two numbers) and process line (the latter two numbers).

Fact Sheets of Pollutants
Category：█Hazardous industrial waste
Item	Composition	Amount of emissions			Unit / (Ton/D)	Storage or treatment	Source (Note)
		1st. Yr.	2nd. Yr.	3rd. Yr.

Total

Note：Product name or four-digit number can be filled. The four-digit number will be combined from produce line (the first two numbers) and process line (the latter two numbers).
Brief Description of Pollution Prevention Action
Category：█Wastewater pollution prevention measures

Note 1：Please describe briefly by charts or texts about pollution prevention related facilities, equipment or measures.
2：The wastewater in restaurant should be equipped with oily water separator pre-treatment facilities.
Brief Description of Pollution Prevention Action
Category：█Air pollution prevention measures

Note 1：Please describe briefly by charts or texts about pollution prevention related facilities, equipment or measures.
2：If the manufacturer produces VOCs emissions, it must install VOCs control equipment.
Brief Description of Pollution Prevention Action
Category：█Waste clearance and prevention measures
1.Storage stage / 2.Clearance stage / 3.Treatment stage

Note：Please describe briefly by charts or texts about pollution prevention related facilities, equipment or measures.
Brief Description of Pollution Prevention Action
Category：█Noise control and prevention measures
1.Sources of noise / 2.Prevention measures / 3.Threshold of Noise Control standards of each time period

Note 1：Please describe briefly by charts or texts about pollution prevention related facilities, equipment or measures.
2：Noise refers to the sound which produced by processes equipment or units and has impact on the surroundings.
Erlin Science Park Cleaner Production Evaluation Table
Scope of evaluation	Index of evaluation	Results of evaluation
1.Cleaner production manufacturing technics with high efficiency use of resources and energy	(1) Economic water consumption plan: Explain about the percentage of recycle of used process water and water supply by cooling water, or using water-saving equipment. / (2) Economic energy consumption plan: Explain about the high efficiency use of process or power equipment, such as process improvement, renewable energy in the roof and Green Building design and so on.	□Technics planned to use, please describe briefly: / _____________ / _____________ / _____________ / _____________ / _____________	□Cleaner production manufacturing technics with high efficiency use of resources and energy will be considered
2.Cleaner production manufacturing technics which can reduce waste, amount of pollutants emissions and toxicity	(1) Please describe waste reduce design, such as multi-function products (smart phone), downsize design for products (less raw materials) and so on. / (2) Please describe the contract for industrial waste disposal if a registered public or private waste cleaning and treatment institutes has been chosen. / (3) Please describe the detail information for the industrial waste treatment processes if valid records are available for inquiring. / (4) Please describe the manufacturing process without using toxic chemicals required to register.	□Technics planned to use, please describe briefly: / _____________ / _____________ / _____________ / _____________ / _____________	□Cleaner production manufacturing technics which can reduce waste, amount of pollutants emissions and toxicity will be considered
3. Cleaner production manufacturing technics which can recycle and reuse raw materials, products and waste	(1) Please describe how to reduce or recycle raw materials and products. / (2) Please describe the location where general and hazardous industrial wastes are placed if they are stored separately.	□Technics planned to use, please describe briefly: / _____________ / _____________ / _____________ / _____________ / _____________	□Cleaner production manufacturing technics which can recycle and reuse raw materials, products and waste will be considered

Note:
1. Please refer to the following website of Factory Green Label for general industrials, Industrial development bureau, Minister of Economic Affairs “Section 3.11 Using cleaner production manufacturing technics”.(https://proj.ftis.org.tw/isdn/GreenFactory/Index/39F458DA8AF53FA4)
2. Any supplement facts for explanation should be used as attachments.
Brief Description of Emergency Response Measures
Emergency response measures or actions for unexpected pollutants emissions
1.Emergency response actions for unexpected air pollutants leak / 2.Emergency response actions for unexpected wastewater discharge / 3.Emergency response measures for unexpected waste disposal / 4.Emergency organization

Emergency response measures and pollution prevention plan-Application for estimation of total amounts of pollutants of installation and operation change in Central Taiwan Science Park for investment related data sheet fill in explanation
1. Overview
Because of Erlin Science Park EIA Commitments, investors are required to apply for Central Taiwan Science Park total amount of pollutants emissions when company intend to install or change operation, one should fill in the related data sheet of pollutants emissions prediction as the primary requirement when entering Central Taiwan Science Park. All data should be provided as details as possible and with company seal in triplicate.
2. How to fill in the Checklist
This table is the index of the following data sheets, one should check the data sheets and documents which required by the checklist table, table A and table B are needed for review.
3. How to fill in the Basic Information Table
Please fill in this table by the real condition, contact personnel should be the one who fill in this table, if the factory address is not determined, please fill in “wait for allocated”.
4. Sources of Pollutants
This table should be filled in the product information, a flowchart or text description about the production line or laboratory. A flow chart should indicate the name of pollutants on each box, the column can be added if needed. If one page is not enough, extra page which noted such as B-1, B-2 will be acceptable.
5. Raw Materials and Products
This table should be filled in the raw materials and product details, physical-chemical properties should be filled in the major content field. The column can be added if needed. If one page is not enough, extra page which noted such as C-1, C-2 will be acceptable.
6. Fact Sheets of Pollutants
This table should be filled in the categories of different pollutants for each page, name, quantities, storage and treatment of pollutants are needed. A flow chart should indicate the name of pollutants on each box, the column can be added if needed. If one page is not enough, extra page which noted such as Pollutant-1, Pollutant-2 will be acceptable.
7. Brief Description of Pollution Prevention Action
This table should be filled in pollution prevention action or measures. When it is required by the law or regulations, it is a must to describe the facilities, equipment or measures. If one page is not enough, extra page which noted such as Measure-1, Measure-2 will be acceptable.
8. Erlin Science Park Cleaner Production Evaluation Table
Please refer to the following website of Factory Green Label for general industrials, Industrial development bureau, Minister of Economic Affairs “Section 3.11 Using cleaner production manufacturing technics”.(https://proj.ftis.org.tw/isdn/GreenFactory/Index/39F458DA8AF53FA4)
9. Brief Description of Emergency Response Measures
This table should be filled in what actions will be taken when unexpected discharge of any pollutants. Emergency organization and actions should be filled in, including major contact information, personnel and unit. If one page is not enough, extra page can be added.